## Slide 1: Stirring Subsystem
Leader: Iason Chaimalas

## Slide 2: Construction
Leader: Iason Chaimalas

## Slide 3: The DC Motor Actuator
Even with no load, the motor can draw over 300mA  High-Current Load
Turning the Gate ON makes the Drain conduct to the Source – switch behaviour.
Options:
digitalWrite  HIGH or LOW write
  Manual write
  Cannot control RPM
PWM
  Duty Cycle easily varied
  Transistor ON for PWM HIGH (Vcc), OFF for LOW (GND)
MOSFET – (1) Oscar Liang
PWM in Bioreactor Oscilloscope
Stirring DC Motor Datasheet

## Slide 4: Stirring Code
Implementing Closed-Loop PID Control
Error = Setpoint – TrueRPM
ElapsedTime = time since last loop – used in D and I paths
Very small tuning constants due to large P, I and D error terms
Interrupts attached to Pin2, ISR used to collect number of changes of Pin2 over ElapsedTime

## Slide 5: Final Stirring Subsystem in Multisim
Oscilloscope Reading over Photointerrupter - Green

## Slide 6: Final Stirring Subsystem in Tinkercad

## Slide 7: Discussion
Leader: Iason Chaimalas

## Slide 8: Zener Voltage Regulator
PWM

## Slide 9: Results
Leader: Iason Chaimalas

## Slide 10: Testing Edge Cases
Chart: RPM Over Time for Bioreactor System for Various Setpoints

## Slide 11: Calibration Curve

## Slide 12: Testing Edge Cases
Chart: RPM Over Time for Bioreactor System with 500RPM Setpoint

## Slide 13: Testing Edge Cases
Chart: RPM Over Time for Bioreactor System at Setpoint 1500RPM then 500RPM